## Detectors
NORMAL | SMOKE(PHOTO) | BREAK ROOM 1ST FLOOR | L01D001 | True | 11:19A 123019
NORMAL | SMOKE(PHOTO) | BREAK RM TOILET 1ST FLOOR | L01D002 | True | 11:19A 123019
NORMAL | HEAT(FIXED) | BOILER ROOM 1ST FLOOR | L01D003 | True | 10:30A 123019
NORMAL | HEAT(FIXED) | BOILER ROOM 1ST FLOOR | L01D004 | True | 10:30A 123019
NORMAL | SMOKE(PHOTO) | SOUTH HALL 1ST FLOOR | L01D005 | True | 11:19A 123019
NORMAL | SMOKE(PHOTO) | SOUTH HALL 1ST FLOOR | L01D006 | True | 11:18A 123019
NORMAL | SMOKE(PHOTO) | STAGE HALL 1ST FLOOR | L01D007 | True | 11:18A 123019
NORMAL | SMOKE(PHOTO) | STAGE 1ST FLOOR | L01D008 | True | 11:18A 123019
NORMAL | SMOKE(PHOTO) | GYM 1ST FLOOR | L01D009 | False
NORMAL | SMOKE(PHOTO) | GYM 1ST FLOOR | L01D010 | False
NORMAL | SMOKE(PHOTO) | GYM 1ST FLOOR | L01D011 | False
NORMAL | SMOKE(PHOTO) | GYM OFFICE 1ST FLOOR | L01D012 | True | 11:14A 123019
NORMAL | SMOKE(PHOTO) | GYM ENTRY 1ST FLOOR | L01D013 | True | 11:13A 123019
NORMAL | SMOKE(PHOTO) | GYM ENTRY 1ST FLOOR | L01D014 | True | 11:12A 123019
NORMAL | SMOKE(PHOTO) | MENS RM SOUTH 1ST FLOOR | L01D015 | True | 11:13A 123019
NORMAL | SMOKE(PHOTO) | WOMENS RM SOUTH 1ST FLOOR | L01D016 | True | 11:11A 123019
NORMAL | SMOKE(PHOTO) | NURSE 1ST FLOOR | L01D017 | True | 11:10A 123019
NORMAL | SMOKE(PHOTO) | GYM OFFICE 1ST FLOOR | L01D018 | True | 11:15A 123019
NORMAL | SMOKE(PHOTO) | ROOM 118 TOILET 1ST FLOOR | L01D019 | True | 11:08A 123019
NORMAL | SMOKE(PHOTO) | NURSE 1ST FLOOR | L01D020 | True | 11:10A 123019
NORMAL | SMOKE(PHOTO) | ROOM 118 1ST FLOOR | L01D021 | True | 11:07A 123019
NORMAL | SMOKE(PHOTO) | SOUTH EAST HALL 1ST FLOOR | L01D022 | True | 11:11A 123019
NORMAL | SMOKE(PHOTO) | SOUTH EAST HALL 1ST FLOOR | L01D023 | True | 11:09A 123019
NORMAL | SMOKE(PHOTO) | MAIN HALL 1ST FLOOR | L01D024 | True | 11:06A 123019
NORMAL | SMOKE(PHOTO) | MAIN HALL 1ST FLOOR | L01D025 | True | 11:06A 123019
NORMAL | HEAT(FIXED) | KITCHEN 1ST FLOOR | L01D026 | True | 11:08A 123019
NORMAL | HEAT(FIXED) | KITCHEN 1ST FLOOR | L01D027 | True | 11:11A 123019
NORMAL | HEAT(FIXED) | KITCHEN 1ST FLOOR | L01D028 | True | 11:09A 123019
NORMAL | SMOKE(PHOTO) | CAFETERIA 1ST FLOOR | L01D029 | True | 10:56A 123019
NORMAL | SMOKE(PHOTO) | CAFETERIA 1ST FLOOR | L01D030 | True | 10:55A 123019
NORMAL | SMOKE(PHOTO) | CAFI CLASSRM B 1ST FLOOR | L01D031 | True | 10:56A 123019
NORMAL | SMOKE(PHOTO) | CAFI CLASSRM A 1ST FLOOR | L01D032 | True | 10:55A 123019
NORMAL | SMOKE(PHOTO) | NORTH EAST EXIT 1ST FLOOR | L01D033 | True | 11:02A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 102 1ST FLOOR | L01D034 | True | 11:04A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 104 1ST FLOOR | L01D035 | True | 11:00A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 104 1ST FLOOR | L01D036 | True | 10:59A 123019
NORMAL | SMOKE(PHOTO) | NORTH EAST HALL 1ST FLOOR | L01D037 | True | 11:01A 123019
NORMAL | SMOKE(PHOTO) | NORTH EAST HALL 1ST FLOOR | L01D038 | True | 10:59A 123019
NORMAL | SMOKE(PHOTO) | MAIN OFFICE 1ST FLOOR | L01D039 | True | 11:02A 123019
NORMAL | SMOKE(PHOTO) | PRINCIPALS OFFICE 1ST FLOOR | L01D040 | True | 11:02A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 105 1ST FLOOR | L01D041 | True | 10:59A 123019
NORMAL | SMOKE(PHOTO) | MAIN HALL 1ST FLOOR | L01D042 | True | 10:58A 123019
NORMAL | SMOKE(PHOTO) | BOYS RM NORTH 1ST FLOOR | L01D043 | True | 10:57A 123019
NORMAL | SMOKE(PHOTO) | MAIN ENTRY 1ST FLOOR | L01D044 | True | 10:58A 123019
NORMAL | SMOKE(PHOTO) | BOYS RM NORTH 1ST FLOOR | L01D045 | True | 10:57A 123019
NORMAL | SMOKE(PHOTO) | GIRLS RM NORTH 1ST FLOOR | L01D046 | True | 10:57A 123019
NORMAL | SMOKE(PHOTO) | GIRLS RM NORTH 1ST FLOOR | L01D047 | True | 10:55A 123019
NORMAL | HEAT(FIXED) | JANITORS CLOSET 1ST FLOOR | L01D048 | True | 10:57A 123019
NORMAL | HEAT(FIXED) | ELECT CLOSET NORTH 1ST FLOOR | L01D049 | True | 11:39A 123019
NORMAL | SMOKE(PHOTO) | NORTH WEST HALL 1ST FLOOR | L01D050 | True | 10:55A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 111 1ST FLOOR | L01D051 | True | 10:54A 123019
NORMAL | SMOKE(PHOTO) | ROOM 113 TOILET 1ST FLOOR | L01D052 | True | 10:53A 123019
NORMAL | SMOKE(PHOTO) | ROOM 111 TOILET 1ST FLOOR | L01D053 | True | 10:54A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 113 1ST FLOOR | L01D054 | True | 10:52A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 110 1ST FLOOR | L01D055 | True | 11:44A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 112 1ST FLOOR | L01D056 | True | 10:52A 123019
NORMAL | SMOKE(PHOTO) | NORTH WEST HALL 1ST FLOOR | L01D057 | True | 10:53A 123019
NORMAL | SMOKE(PHOTO) | NORTH WEST HALL 1ST FLOOR | L01D058 | True | 10:52A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 219 2ND FLOOR | L01D059 | True | 10:32A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 217 2ND FLOOR | L01D060 | True | 10:34A 123019
NORMAL | SMOKE(PHOTO) | SOUTH HALL 2ND FLOOR | L01D061 | True | 10:37A 123019
NORMAL | SMOKE(PHOTO) | JANITORS CLOSET 2ND FLOOR | L01D062 | True | 10:33A 123019
NORMAL | SMOKE(PHOTO) | ROOM 217 CLOSET 2ND FLOOR | L01D063 | True | 11:34A 123019
NORMAL | SMOKE(PHOTO) | SOUTH WEST STAIR 2ND FLOOR | L01D064 | True | 10:32A 123019
NORMAL | SMOKE(PHOTO) | FAN RM ABOVE STAGE 2ND FLOOR | L01D065 | True | 10:36A 123019
NORMAL | SMOKE(PHOTO) | SOUTH HALL 2ND FLOOR | L01D066 | True | 10:33A 123019
NORMAL | SMOKE(PHOTO) | SOUTH HALL 2ND FLOOR | L01D067 | True | 10:40A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 220 2ND FLOOR | L01D068 | True | 10:37A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 218 2ND FLOOR | L01D069 | True | 10:39A 123019
NORMAL | SMOKE(PHOTO) | TEACHERS LOUNGE 216 2ND FLOOR | L01D070 | True | 10:41A 123019
NORMAL | SMOKE(PHOTO) | ASSISTANT PRINCIPAL 2ND FLOOR | L01D071 | True | 10:46A 123019
NORMAL | SMOKE(PHOTO) | MDF ROOM 214 2ND FLOOR | L01D072 | True | 10:40A 123019
NORMAL | SMOKE(PHOTO) | HALL BY LIBRARY 2ND FLOOR | L01D073 | True | 10:36A 123019
NORMAL | SMOKE(PHOTO) | LIBRARY WEST 2ND FLOOR | L01D074 | True | 10:38A 123019
NORMAL | SMOKE(PHOTO) | LIBRARY EAST 2ND FLOOR | L01D075 | True | 10:38A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 213 2ND FLOOR | L01D076 | True | 10:39A 123019
NORMAL | SMOKE(PHOTO) | COMPUTER ROOM 2ND FLOOR | L01D077 | True | 10:46A 123019
NORMAL | SMOKE(PHOTO) | LIBRARY COMPUTER RM 2ND FLOOR | L01D078 | True | 10:38A 123019
NORMAL | SMOKE(PHOTO) | NORTH STAIR 2ND FLOOR | L01D079 | True | 10:42A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 204 2ND FLOOR | L01D080 | True | 10:43A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 202 2ND FLOOR | L01D081 | True | 10:44A 123019
NORMAL | SMOKE(PHOTO) | NORTH EAST STAIR 2ND FLOOR | L01D082 | True | 10:45A 123019
NORMAL | SMOKE(PHOTO) | NORTH EAST HALL 2ND FLOOR | L01D083 | False
NORMAL | SMOKE(PHOTO) | CLASSROOM 201 2ND FLOOR | L01D084 | True | 10:43A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 203 2ND FLOOR | L01D085 | True | 10:43A 123019
NORMAL | SMOKE(PHOTO) | NORTH EAST HALL 2ND FLOOR | L01D086 | True | 10:42A 123019
NORMAL | SMOKE(PHOTO) | BOILER ROOM 1ST FLOOR | L01D087 | True | 10:28A 123019
NORMAL | SMOKE(PHOTO) | BOYS ROOM 2ND FLOOR | L01D088 | True | 11:37A 123019
NORMAL | SMOKE(PHOTO) | BOYS ROOM 2ND FLOOR | L01D089 | True | 10:42A 123019
NORMAL | SMOKE(PHOTO) | GIRLS ROOM 2ND FLOOR | L01D090 | True | 10:46A 123019
NORMAL | SMOKE(PHOTO) | GIRLS ROOM 2ND FLOOR | L01D091 | True | 10:45A 123019
NORMAL | SMOKE(PHOTO) | NORTH WEST HALL 2ND FLOOR | L01D092 | True | 10:41A 123019
NORMAL | SMOKE(PHOTO) | SOUTH WEST STAIR 1ST FLOOR | L01D093 | True | 11:20A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 209 2ND FLOOR | L01D094 | True | 10:46A 123019
NORMAL | SMOKE(PHOTO) | NORTH WEST HALL 2ND FLOOR | L01D095 | True | 10:48A 123019
NORMAL | SMOKE(PHOTO) | FAN RM ABOVE GYM 2ND FLOOR | L01D096 | False
NORMAL | SMOKE(PHOTO) | NORTH WEST HALL 2ND FLOOR | L01D097 | True | 10:49A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 211 2ND FLOOR | L01D098 | True | 10:48A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 210 2ND FLOOR | L01D099 | True | 10:47A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 212 2ND FLOOR | L01D100 | True | 10:49A 123019
NORMAL | SMOKE(PHOTO) | NORTH WEST STAIR 2ND FLOOR | L01D101 | True | 10:50A 123019
NORMAL | SMOKE(PHOTO) | KITCHEN STORAGE 1ST FLOOR | L01D102 | False
NORMAL | SMOKE(PHOTO) | KITCHEN TOILET 1ST FLOOR | L01D103 | True | 11:11A 123019
NORMAL | SMOKE(PHOTO) | KITCHEN LAUNDRY 1ST FLOOR | L01D104 | True | 11:10A 123019
NORMAL | SMOKE(PHOTO) | GYM STAIR 1ST FLOOR | L01D105 | True | 11:49A 123019
NORMAL | SMOKE(PHOTO) | TEACH LOUNGE TOILET 2ND FLOOR | L01D106 | True | 10:40A 123019
NORMAL | SMOKE(PHOTO) | GYM ELECTRIC RM 1ST FLOOR | L01D107 | True | 11:15A 123019
NORMAL | SMOKE(PHOTO) | GYM ENTRY CLOSET 1ST FLOOR | L01D108 | False
NORMAL | SMOKE(PHOTO) | SOUTH EAST HALL OFF 1ST FLOOR | L01D109 | True | 11:07A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 118 1ST FLOOR | L01D110 | False
NORMAL | SMOKE(PHOTO) | CLASSROOM 104 TOILET1ST FLOOR | L01D111 | True | 11:00A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 104 TOILET1ST FLOOR | L01D112 | True | 11:00A 123019
NORMAL | SMOKE(PHOTO) | CLASSROOM 104 FOYER 1ST FLOOR | L01D113 | True | 11:00A 123019
NORMAL | SMOKE(PHOTO) | MAIN OFFICE TOILET 1ST FLOOR | L01D114 | True | 11:02A 123019
NORMAL | SMOKE(PHOTO) | PRINCIPALS TOILET 1ST FLOOR | L01D115 | True | 11:01A 123019
NORMAL | SMOKE(PHOTO) | NORTH STAIR 1ST FLOOR | L01D116 | True | 10:58A 123019
NORMAL | SMOKE(PHOTO) | JANITORS CLO CHASE 1ST FLOOR | L01D117 | False
NORMAL | SMOKE(PHOTO) | NORTH WEST STAIR 1ST FLOOR | L01D118 | True | 10:51A 123019
NORMAL | SMOKE(PHOTO) | LIBRARY UTIL CLOSET 2ND FLOOR | L01D119 | False
NORMAL | SMOKE(PHOTO) | ROOM 102 CLOSET 1ST FLOOR | L01D120 | True | 11:42A 123019

## Modules
NORMAL | PULL_STATION | BOILER ROOM 1ST FLOOR | L01M001 | True | 10:31A 123019
NORMAL | PULL_STATION | SOUTH HALL 1ST FLOOR | L01M002 | True | 11:20A 123019
NORMAL | PULL_STATION | KITCHEN EXIT 1ST FLOOR | L01M003 | True | 11:07A 123019
NORMAL | PULL_STATION | STAGE RIGHT EXIT 1ST FLOOR | L01M004 | True | 11:16A 123019
NORMAL | PULL_STATION | CAFETERIA EXIT 1ST FLOOR | L01M005 | True | 10:56A 123019
NORMAL | PULL_STATION | GYM EXIT 1ST FLOOR | L01M006 | True | 11:16A 123019
NORMAL | PULL_STATION | GYM EXIT 1ST FLOOR | L01M007 | True | 11:14A 123019
NORMAL | PULL_STATION | SOUTH EAST EXIT 1ST FLOOR | L01M008 | True | 11:13A 123019
NORMAL | PULL_STATION | NORTH EAST EXIT 1ST FLOOR | L01M009 | True | 11:02A 123019
NORMAL | PULL_STATION | MAIN ENTRY 1ST FLOOR | L01M010 | True | 10:57A 123019
NORMAL | PULL_STATION | NORTH WEST STAIR 1ST FLOOR | L01M011 | True | 10:51A 123019
NORMAL | PULL_STATION | SOUTH WEST STAIR 2ND FLOOR | L01M012 | True | 10:32A 123019
NORMAL | PULL_STATION | NORTH EAST STAIR 2ND FLOOR | L01M013 | True | 10:44A 123019
NORMAL | PULL_STATION | NORTH WEST STAIR 2ND FLOOR | L01M014 | True | 10:16A 123019
NORMAL | MONITOR | ANSUL SYSTEM KITCHEN | L01M020 | False